## Slide 1: WATER

## Slide 2: OUTLINE
Review Reading and Homeworks
Site Water
  Stormwater
  Wastewater
Homework
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 3: SITE WATER
Two types of site water:
  Stormwater
    Water from precipitation & snow melt
  Wastewater (Sewage)
    Water that is discharged from a site after being used for an industrial, agricultural, commercial, or residential purpose.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 4: SITE WATER
Two types of site water:
  Stormwater
    Water from precipitation & snow melt
  Wastewater (Sewage)
    Water that is discharged from a site after being used for an industrial, agricultural, commercial, or residential purpose.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 5: STORMWATER
Before human settlements, most of the earth’s surface absorbed and retained stormwater (ground water), or conveyed it to rivers, streams, lakes, and the ocean.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 6
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
IF WATER CYCLE IS A CLOSED SYSTEM WHY IS THERE A SHORTAGE PROBLEM?

## Slide 7
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
CONTAMINATION
INCREASE IN POPULATION
DESTRUCTION OF AQUIFERS
MIXING OF FRESHWATER WITH SALTWATER (RISING SEAWATER LEVELS)

## Slide 8: Water Crisis: Flow
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
http://www.flowthefilm.com/trailer
Of the 6 billion people on earth, 1.1 billion do not have access to safe, clean drinking water. (www.charitywater.org)
The U.S. Environmental Protection Agency currently does not regulate 51 known water contaminants. (www.foodandwaterwatch.org)
While the average American uses 150 gallons of water per day, those in developing countries cannot find five. (www.charitywater.org)
The water and sanitation crisis claims more lives through disease than any war claims through guns. (www.water.org)
According to the National Resources Defense Council, in a scientific study in which more than 1,000 bottles of 103 brands of water were tested, about one-third of the bottles contained synthetic organic chemicals, bacteria, and arsenic. (www.nrdc.org)
Water is a $400 billion dollar global industry; the third largest behind electricity and oil. CBS News, FLOW.
There are estimates that from five hundred thousand to seven million people get sick per year from drinking tap water. Erik Olson, Deputy Staff Director of Barbara Boxer’s Environmental and Public Works Committee (EPW), FLOW.
In Bolivia nearly one out of every ten children will die before the age of five. Most of those deaths are related to illnesses that come from a lack of clean drinking water. Jim Schultz, founder of the Democracy Center in Bolivia, FLOW.
The cost per person per year for having 10 liters of safe drinking water every day is just $2 USD. Ashok Gadgil, Senior Staff Scientist in the Lawrence Berkeley National Laboratory, FLOW

## Slide 9
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
A watershed is a geographic area from which water drains toward a common watercourse (such as a lake, stream, and ocean) in a natural basin. When thinking of a watershed do not just think of water, include land use, topography, geology etc. All of these components affect watersheds

## Slide 10
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
http://www.nyc.gov/html/dep/html/drinking_water/droughthist.shtml
Drought and Consumption:
Realtime Reservoir Levels:
http://www.nyc.gov/html/dep/html/drinking_water/maplevels_wide.shtml

## Slide 11
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 12
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 13
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
DISTRIBUTION

## Slide 14
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
DISTRIBUTION

## Slide 15
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
DISTRIBUTION

## Slide 16
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
DISTRIBUTION

## Slide 17: STORMWATER
90% of the surface is impermeable in urban areas
35% in suburban areas.1
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 18: STORMWATER
Breakdown of impermeable surfaces Nationwide1:
  29% Buildings
  28% Roads
  25% Parking lots
  14% Driveways, sidewalks, patios, and pools
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 19: STORMWATER
Humans, and both land and aquatic flora and fauna are affected by a decrease in porosity by1:
  Storm-fed flows cause erosion of river/stream banks
  Stormwater discharged from urban environments tends to be 43°F (6°C) warmer than undeveloped areas
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 20: STORMWATER
Humans, and both land and aquatic flora and fauna are affected by a decrease in porosity by1:
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
  Pollutants such as nitrates, pesticides, motor oil, fertilizers, and salts are introduced to waterways and ground water. Several of these are potential carcinogens
  Sediment clouds the water, reducing oxygen and the penetration of sunlight, and destroy aquatic habitats2

## Slide 21: STORMWATER
Humans, and both land and aquatic flora and fauna are affected by a decrease in porosity by1:
  Aquifers are not recharged, which reduces water availability during dry seasons
  Reduction in ground water, reduces the earth’s ability to cool surrounding areas (the ground can’t sweat) thereby increasing the urban heat island effect.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 22
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 23
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
New sinkholes have been correlated to land-use practices, especially from ground-water pumping and from construction and development practices. Sinkholes can also form when natural water-drainage patterns are changed and new water-diversion systems are developed.
The water below ground is actually helping to keep the surface soil in place. Ground-water pumping for urban water supply and for irrigation can produce new sinkholes In sinkhole-prone areas. If pumping results in a lowering of ground-water levels, then underground structural failure, and thus, sinkholes, can occur

## Slide 24: STORMWATER
In order to achieve Sustainability storm water must be contained on-site which…
  Increases percolation into the ground water
  Reduces direct discharge into nearby waterways
  Delays entry into the municipal storm drain system, thereby reducing CSO (Combined Sewer Overflow) events
  Removes pollutants from water before it’s returned to waterways
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Studies show that untreated urban stormwater runoff generated in during the first hour of intense storm events – referred to as the “first flush” – can have even greater pollutant concentrations than raw sewage. During wet weather events. large quantities of untreated sewage and stormwater contaminated with surface pollutants discharge into the New York Harbor by way of more than 494 combined sewer outfalls.2

## Slide 25: STORMWATER MANAGEMENT
  29% Buildings
  28% Roads
  25% Parking lots
  14% Driveways, sidewalks, patios, and pools
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 26: STORMWATER MANAGEMENT
  29% Buildings
  28% Roads
  25% Parking lots
  14% Driveways, sidewalks, patios, and pools
  67% OF IMPERVIOUS SURFACES CAN BE EASILY MITIGATED
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
We’ll talk more about this next class!

## Slide 27: STORMWATER MANAGEMENT
Maximize porous surface area
Increase sub-surface water storage capacity
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 28: STORMWATER MANAGEMENT
Maximize porous surface area
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 29: STORMWATER MANAGEMENT
Use porous hardscape materials in lieu of traditional concrete and asphalt:
  Porous concrete
  Porous asphalt
  Grass pavers
  Unit pavers
  Sand, decomposed granite, gravel, pea gravel
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 30: STORMWATER MANAGEMENT
Minimize building footprint
Minimize foundation impact on ground surface
Maximize plant cover:
  Appropriately selected plants store water in their leaves and roots
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 31: STORMWATER MANAGEMENT
Maximize porous surface area
Increase sub-surface water storage capacity
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 32: STORMWATER MANAGEMENT
  Utilize dry wells or French drains to improve soil percolation and hold stormwater
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 33
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 34: STORMWATER MANAGEMENT
  Utilize Engineered Soil in tree beds to increase porosity and promote healthy tree growth
  Continuous tree trenches under sidewalks and streets drastically increase water storage, and prevent root damage to hardscape
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
SHoP Architects

## Slide 35: RAIN WATER HARVESTING
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
1 inch of rainfall on a 2,000 sq. ft. residential roof generates 1,250 gallons of water that can be reused.
That same roof in a region receiving 30 inches of annual rainfall generates 41,000 gallons of reusable water.
The average US household with a 10,000 square foot lot uses 5,000 gallons of water weekly for landscape irrigation.
Running a sprinkler for 2 hours can use up to 500 gallons of water.

## Slide 36: RAIN WATER HARVESTING
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 37
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Sidwell Friends Middle School: Kieran Timberlake Architects

## Slide 38
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Sidwell Friends Middle School: Kieran Timberlake Architects

## Slide 39
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Sidwell Friends Middle School: Kieran Timberlake Architects

## Slide 40
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Sidwell Friends Middle School: Kieran Timberlake Architects

## Slide 41
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Sidwell Friends Middle School: Kieran Timberlake Architects

## Slide 42
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Sidwell Friends Middle School: Kieran Timberlake Architects

## Slide 43: SITE WATER
Two types of site water:
  Stormwater
    Water from precipitation & snow melt
  Wastewater (Sewage)
    Water that is discharged from a site after being used for an industrial, agricultural, commercial, or residential purpose.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 44: INDUSTRIAL WASTEWATER
In order to achieve Sustainability, industrial wastewater must be eliminated
  On-site recycling
    Continuous re-use of the same water
    The only additional water draw is to supplement loss due to evaporation
    Manufacturers must re-think chemical inputs in order to make water easily reused
    Increases efficiency of the manufacturing process by reducing the demand for “raw materials”
  Clean effluent
    If water is released, it must be safe for all down-stream ecosystems
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 45: INDUSTRIAL WASTEWATER
In order to achieve Sustainability, industrial wastewater must be eliminated
  Clean effluent
    If water is released, it must be safe for all down-stream ecosystems
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK

## Slide 46: COMMERCIAL & RESIDENTIAL WASTEWATER
In order to achieve Sustainability, commercial and residential waste water must be significantly reduced and may eventually be eliminated.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
  Gray water – water from showers, washers, and lavatories
    Can be reduced with water restricting shower heads and faucets
    Can be reduced with water efficient appliances
    Can be reduced through human participation
    Can be reused on-site for irrigation & toilets

## Slide 47: COMMERCIAL & RESIDENTIAL WASTEWATER
In order to achieve Sustainability, commercial and residential waste water must be significantly reduced and may eventually be eliminated.
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
  Black water – water from toilets and kitchen sinks
    Can be reduced with water efficient toilets
    Can be reduced with dual flush toilets
    Can be reused as compost (biosolids)
      Kitchen waste can be composted on-site
      Toilet waste can be composted in composting toilets on-site, and used as fertilizer on-site
      Toilet waste can be composted on a municipal scale

## Slide 48: TYPICAL WASTEWATER TREATMENT
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
http://www.youtube.com/watch?v=YMD8gb4fTJk&feature=related
WASTEWATER RECLAMATION
http://www.youtube.com/watch?v=c6KQNGTFQRQ

## Slide 49
REVIEW
SITE WATER
CLIMATE MEASUREMENT
VOCABULARY
HOMEWORK
Bathroom
Do take short showers and save 5 to 7 gallons a minute.
Do fill the tub halfway and save 10 to 15 gallons.
Do install water-saving toilets, showerheads and faucet aerators. Place a plastic bottle filled with water in your toilet tank if you cant switch to a low-flow toilet.
Don't run the water while shaving, washing your hands or brushing your teeth. Faucets use 2 to 3 gallons a minute.
Don't use the toilet as a wastebasket, and don't flush it unnecessarily.
Everywhere
Do repair leaky faucets and turn taps off tightly. A slow drip wastes 15 to 20 gallons each day.
Don't open fire hydrants.
Kitchen & Laundry
Do run the dishwasher and washing machine only when full. Save even more by using the short cycle.
Do install faucet aerators.
Don't let the water run while washing dishes. Kitchen faucets use 2 to 3 gallons a minute. Filling a basin only takes 10 gallons to wash and rinse.
Don't run water to make it cold. Have it chilled in the refrigerator, ready to drink.
Outdoors
Do use a self-closing nozzle on your hose.
Don't water your sidewalk or driveway -- instead, sweep them clean.
Don't overwater your lawn or plants. Water before 9 a.m. or after 7 p.m.

## Slide 51: BIBLIOGRAPHY
http://findarticles.com/p/articles/mi_m1200/is_10_166/ai_n7069061
DDC Sustainable Urban Sites – Water, “Water Management on Urban Sites”, p. 75
Edwards, Brian. Rough Guide to Sustainability, 2nd Edition, RIBA Enterprises Ltd., 2001, p. 36
Ibid., p. 38
Steele, James. Ecological Architecture: A Critical History. Thames & Hudson Ltd., London, 2005,p.
http://www.degreedays.net/
http://knol.google.com/k/martin-bromley/degree-days/2jhb07kwe0in9/2#
REVIEW
DISCUSS
VOICES OF SUSTAINABILITY
THE USGBC