## Slide 1: Developing a Wind Project along NYC Highway
RIEO RAMLALL
ENVIRONMENTAL ECONOMICS
Econ 2505
PROF: SEAN MECDONALD
DEC 7, 2016

## Slide 2: Thesis
Reducing Green House Gasses in NYC by implementing wind energy along highways.

## Slide 3: Objectives
Is it feasible to implement in New York City?
Where can it be implemented?
Benefits of implementing wind energy in New York City.

## Slide 4: What is a wind turbine?

## Slide 5: Finding from Secondary Sources
Conditions for a successful wind energy project.
      Reliable wind resource
      Close proximity of existing transmission lines
      Access to land
      Access to Capital
      Reliable Market
      Addressing site and feasibility considerations
      Establish Dialog with manufacturers
      Secure operation and maintenance needs

## Slide 6: Wind Resource
Low speed turbines require 3m/s to start = 6.7mph
Provides excellent production at an average speed of 13mph

## Slide 7: Where ?
I-84
71 miles

## Slide 8: Where ?
I-84
71 miles

## Slide 9: Why I-84
I-84
71 miles

## Slide 10: Site Location

## Slide 11: Cost
On Average wind turbines cost 1.5M per MW installed
60 turbines at 3.45MW = 207MW = $310M
  Energy produced = 60 *3.45MW *365days*24hours = 1813.32 x 106 KWh
  At 20% efficiency = 362.664 x 106 KWh per year
  At 7 cents per kwh = $25.38648M
  25 Years life span return = $634.6M
Profit = $634M – $310M
Profit = $324M
Annual return for all 3.45MW turbines

## Slide 12: Contributions of Site
Similar Vestas Technology that will be used.
Located in similar conditions and wind speed resource.
Maple Ridge Wind Farm(Lewis County, New York)

## Slide 13: Contributions of Site
Noise level of 55dB (A) at 100 meters away.
  Similar to the noise of a car travelling at a speed of 60km/h.
Maple Ridge Wind Farm(Lewis County, New York)

## Slide 14: Contributions of Site
Effects on Wildlife
  Over a 1 year period to include all seasons
  53 incidents were recorded of species including;
    23 Song bird species
    3 Game bird species (Ruffled Grouse, American Woodcock and Wild Turkey)
    3 Raptor species (American Kestrel, Cooper’s Hawk and Sharp-shinned Hawk)
    2 Water bird/Shore bird species (Mallard, Killdeer)
  The greatest number of incident occurred during the month of October.
Maple Ridge Wind Farm(Lewis County, New York)

## Slide 15: Benefits of Wind Energy
Creates employment
Brings capital in to the local income through purchase of materials and supplies for construction.
Helps prevent carbon pollution, sulfur dioxide and nitrogen oxides which causes smog, acid rain, and respiratory illness.
Prevents mercury pollution, a neurotoxin that is harmful to people and wildlife.
Reduces the exposure of our economy to high fuel prices.

## Slide 16: Conclusions/Finding
Wind resource is adequate enough for turbines.
Available land space.
Requires high capital but profits about 50%.
Endangers some species but with little effect.
Reduces CO2 emissions and global warming.
Controls the prices of fuel
Great for the economy by creating jobs and supporting local businesses.

## Slide 17: References
Manwell, J. F., McGowan, J. G., Rogers, A., Ellis, A., Wright, S., Brown, M., & MacLeod, J. (2003). Wind turbine siting in an urban environment: The Hull, MA 660 kW turbine. Retrieved October, 26, 2005.
Wind energy frequently asked questions (FAQ)| EWEA. (n.d.). Retrieved November 17, 2016, from http://www.ewea.org/wind-energy-basics/faq/
Rautenstrauch, J. (n.d.). Siting of Wind Farms: Basic Aspects. Retrieved November 16, 2016, from http://www.wwindea.org/technology/ch02/en/2_4_1.html
Jain, A., Kerlinger, P., Curry, R., & Slobodnik, L. (2009). Annual report for the Maple Ridge wind power project post construction bird and bat fatality study–2006. Cell, 315, 560-8650.
Corbisier, C. (2003, August). Living With Noise. Retrieved November 10, 2016, from https://www.fhwa.dot.gov/publications/publicroads/03jul/06.cfm

## Slide 18: Thank you