EXPERIMENT #1:

Logic Probe

And

Oscilloscope

Marlon Myers

Digital Control

EMT1250

Professor: Prof. Patrick

Table of Contents:

| Objective | 3 |
| --- | --- |
| Equipment | 3 |
| Discussion | 3 |
| Schematic | 4 |
| Questions | 5 |
| Charts | 6 |
| Conclusion | 7 |

Objective:

• To become familiar with constructing a circuit from a schematic diagram.

•To use the Oscilloscope to measure the parameters of Periodic waveforms.

Equipment:

- 5V DC Power Supply

- Logic Probe (from the Digital Trainer)

- Oscilloscope

- Function Generator

- EMT 1250L Parts Kit

Discussion:

•The DIP Toggle switch will be used to connect +5V and GND to a LED and Resistor network.

•The Function Generator will be set to various settings and then measured on the Oscilloscope.

Schematic:

Question:

- Compare using a, Logic probe VS an Oscilloscope in debugging a circuit. State the advantages of each.

- Logic probe:

- Logic probe advantages :

- Low cost:   A logic probe does not contain much circuitry, and the display is very rudimentary. Therefore the cost of manufacture is very low.

- Ease of use :   To use a logic probe typically requires the connection of power leads and then connecting the probe to the required point on the circuit.

- Logic probe disadvantages -

- Very rough measurement:   The nature of the logic probe means that only an indication of the presence of a logic signal can be detected.

- Poor display:   A logic probe only uses a few LEDs to indicate the nature of the logic signal. As a result, little information can eb displayed about the nature of the logic signal that is detected.

- Oscilloscope:

- Oscilloscope disadvantages:

- One disadvantage is that oscilloscopes cost many times more than other types of electronic measuring instruments

- Oscilloscope advantages:

- When you connect an oscilloscope's probe to a power source, the device immediately displays its waveform on the screen. The waveform is a visual representation of the signal's peaks and valleys.

- Calculate the Duty Cycle for the 3 Function Generator settings in Part 2 of the experiment. Use the Oscilloscope readings to calculate Duty Cycle. Do the calculated values agree with the Function Generator settings?

Chart:

Oscilloscope Measurements

| V High (V) | V Low(V) | Thi Secs | Period (secs) | Frequency (HZ) |
| --- | --- | --- | --- | --- |
| 4 | 2 | 500 | 1.00 ms | 1.00 KHZ |

Frequency = 1 kHz, Amplitude = 2VPP, Offset = 2V, Duty Cycle = 50%

Oscilloscope Measurements

| V High (V) | V Low(V) | Thi Secs | Period (secs) | Frequency (HZ) |
| --- | --- | --- | --- | --- |
| 3.8 | 1.5 | 20 us | 99.95 | 10.01KHZ |

Frequency = 10 kHz, Amplitude = 2.5VPP, Offset = 2.5V, Duty Cycle = 20%

Oscilloscope Measurements

| V High (V) | V Low(V) | Thi Secs | Period (secs) | Frequency (HZ) |
| --- | --- | --- | --- | --- |
| 3.8 | 2 | 40 us | 50us | 20 KHZ |

Frequency = 20 kHz, Amplitude = 2VPP, Offset = 2V, Duty Cycle = 80%

Conclusion: